## Slide 1: Southern Water Corp – Technical Presentation
M. Tiras-June 2020

## Slide 2
Problem 1
The plants may failure.
!
The reliability of the desalination plants is critical.
Problem 2
The failed asset will not bring in any revenue.
!
If they fail, the maintenance operation costs will increase
Problem 3
Surjek is one of the concerning plants
A number of pumps had provided abnormally high-pressure readings.
!
Some SWC Plants may face failure in their production because of the high-pressure of pumps.

## Slide 3
Chart: Regression Equation to Model Pump Failure For Surjek

## Slide 4
Chart: CORRELATION MATRIX
| SURJEK_FLOW_METER_1 | SURJEK_FLOW_METER_2 | ROTATIONAL_PUMP_RPM | SURJEK_PUMP_TORQUE | MAXIMUM_DAILY_PUMP_TORQUE | SURJEK_AMMONIA_FLOW_RATE | SURJEK_TUBE_PRESSURE | SURJEK_ESTIMATED_EFFICIENCY | PUMP FAILURE (1 or 0) | TIMEFRAME
SURJEK_FLOW_METER_1 | 1
SURJEK_FLOW_METER_2 | 0.66368 | 1
ROTATIONAL_PUMP_RPM | 0.76718 | 0.61009 | 1
SURJEK_PUMP_TORQUE | 0.80186 | 0.48236 | 0.73726 | 1
MAXIMUM_DAILY_PUMP_TORQUE | 0.048745 | 0.17149 | -0.021711 | 0.042234 | 1
SURJEK_AMMONIA_FLOW_RATE | 0 | 0 | 0 | 0 | 0 | 1
SURJEK_TUBE_PRESSURE | 0.044884 | 0.054395 | 0.055547 | 0.050726 | 0.15647 | 0 | 1
SURJEK_ESTIMATED_EFFICIENCY | 0.12205 | 0.038267 | 0.043189 | 0.10179 | 0.11926 | 0 | 0.10818 | 1
PUMP FAILURE (1 or 0) | 0.4941 | 0.32674 | 0.41738 | 0.45276 | 0.10747 | 0 | 0.0099665 | 0.027143 | 1
TIMEFRAME | 0.14771 | 0.25144 | 0.1616 | 0.11282 | 0.83117 | 0 | 0.094284 | 0.0082175 | 0.13545 | 1
Correlation Matrix Approve That Flow Meter and Pump Torque Have Strong Relationship